TBDA Sprint 3 — Chronos-Bolt (pretrained model)

Summary of README_Chronos.md and guide to the delivery package Chronos_rev0_26-10 (CeDInt Storey 1, energy forecasting) · 26 October 2026

Points requiring additional discussion / information from the product owner were highlighted yellow and bolded.

## At a glance

Model:

- Chosen model type: Chronos-Bolt (Small), a pretrained time-series model used zero-shot

- Nothing is fitted on our data; it only reads the recent hourly energy of one circuit

- Context length chosen on validation, frozen, then run once on the test week against the baselines and Model 1 (GBM, Task 8)

  - Pretrained model: Discuss uniqueness of pretrained model in context of the project

Result:

- B1, B2 & B3

  - Lower error than every baseline at every horizon, in validation and test

  - First model to clearly beat B2 (weekday × hour median) at +6h and day-ahead: 8–10 % lower error, 7 of 8 circuits

- Model 1 (GBM)

  - +6h and day-ahead: better in validation and test (7–8 of 8 circuits on test without the events)

  - +1h: tied on validation; GBM better on the test week without the events (0.265 vs 0.319)

  - Official test results (with the events): Chronos best at every horizon

- => Best model so far for +6h and day-ahead; Model 1 stays the reference for +1h

Reproducibility:

- A rerun gives identical predictions; dataset and weights are checked against SHA-256 checksums

- Clean rebuild on a fresh Task 7&8 folder reproduced every prediction and table; 29 tests pass (26 Task 7&8 + 3 Chronos)

## How the pieces connect

Chronos is an add-on to the Task 7&8 folder: it reads the same hourly dataset v1.1, uses the same forecast timing (forecast_tasks) and scores itself against the Task 7/8 baselines and Model 1 on exactly the same hours.

| Stage | Script | Input | Output |
| --- | --- | --- | --- |
| Shared module | chronos_model.py | — | context builder, model calls, forecast rows |
| 1 Choose on validation | run_chronos_tune.py | derived/, weights/ | models/chronos_frozen_config.json, results/chronos_tuning_log.csv, validation predictions |
| 2 Test run (once) | run_chronos_test.py | models/ + derived/ + weights/ | results/chronos_test_predictions.parquet |
| 3 Comparison | run_chronos_compare.py | Task 8 predictions (B1–B3, GBM) + Chronos predictions | results/chronos_comparison.xlsx, chronos_tables.md |

# 1 · Model and setup (README_Chronos.md)

Model 1 (GBM) is fitted on 35 training days, so each weekday appears only about 5 times. Chronos-Bolt was pretrained on a large public collection of time series and brings that prior knowledge without any fitting. The question it answers: does outside knowledge help when our own history is short?

| Item | Setting |
| --- | --- |
| Model | chronos-bolt-small, 48M parameters, T5 encoder–decoder (config: autogluon/chronos-bolt-small) |
| Input | Hourly energy_Wh of ONE circuit, only hours that started before the issue time; no calendar, no other circuits |
| Missing hours | Stay missing (masked by the model), never set to 0 |
| Output | One call per circuit and issue time → 24 hourly forecasts with quantiles 0.1, 0.5, 0.9 |
| Horizons | +1h, +6h and day-ahead read leads 1, 6 and 1–24 from the same call |
| Point forecast | Median (0.5 quantile) = MAE-optimal value; negative values set to 0 |
| Forecast range | 0.1 to 0.9 quantile, kept for anomaly detection (Sprint 3 item 6) |
| Runtime | CPU only, about 1 minute for validation selection and test run; deterministic |

## How the model works

- The context is cut into patches of 16 hours; the encoder summarises them, the decoder outputs all future hours at once (no step-by-step rollout)

- Each context is scaled by its own level first, so a 1 Wh hand dryer and an 800 Wh socket circuit look alike to the model

- Because it follows the recent level of each circuit, it adapts to operating changes that a fitted model never saw in training

# 2 · Protocol and frozen configuration

## Decisions

- Nothing is fitted: training, validation and test data are only inputs, so decision 4 (training data only) and §9 hold

- Context includes validation hours in the test week: allowed by the reworded §9 (observations before the issue time); the GBM lag inputs do the same

- Selection rule (Task 8): per horizon, lowest mean over 8 circuits of validation MAE ÷ circuit training mean. Only setting: context length 168 / 336 / 504 / 672 h, all available at every validation and test issue time

- Small model size selected

- Checks in code: every context hour starts before the issue time (asserted); the test run refuses to start if dataset or weights differ from the frozen checksums

## Validation score per context length (scaled MAE, chosen in bold)

| Context | +1h | +6h | day-ahead |
| --- | --- | --- | --- |
| 168 h (1 week) | 0.2549 | 0.3488 | 0.3402 |
| 336 h (2 weeks) | 0.2561 | 0.3424 | 0.3338 |
| 504 h (3 weeks) | 0.2552 | 0.3386 | 0.3227 |
| 672 h (4 weeks) | 0.2558 | 0.3401 | 0.3266 |

+1h: all four lengths are practically tied. +6h and day-ahead: three weeks of history work best, so the model uses the weekly pattern when it can see it. These scores count every hour with a valid target; the results in section 3 use the stricter common mask.

# 3 · Results — Chronos vs baselines and Model 1, same hours

## Scaled MAE (MAE ÷ circuit training mean, mean over 8 circuits; lower is better)

| Week | Horizon | B1 | B2 | B3 | GBM | Chronos | Best |
| --- | --- | --- | --- | --- | --- | --- | --- |
| validation | +1h | 0.578 | 0.427 | 0.290 | 0.246 | 0.246 | GBM = Chronos |
| validation | +6h | 0.578 | 0.429 | 0.460 | 0.355 | 0.319 | Chronos |
| validation | day-ahead | 0.578 | 0.427 | 0.367 | 0.384 | 0.301 | Chronos |
| test | +1h | 1.266 | 1.166 | 0.930 | 1.032 | 0.839 | Chronos |
| test | +6h | 1.267 | 1.167 | 1.887 | 1.175 | 1.131 | Chronos |
| test | day-ahead | 1.267 | 1.166 | 1.162 | 1.173 | 1.118 | Chronos |
| test without 2 events | +1h | 0.490 | 0.389 | 0.336 | 0.265 | 0.319 | GBM |
| test without 2 events | +6h | 0.491 | 0.390 | 0.698 | 0.398 | 0.359 | Chronos |
| test without 2 events | day-ahead | 0.491 | 0.389 | 0.401 | 0.395 | 0.350 | Chronos |

Hours scored: 1,120 (validation), 1,336 (test), 1,295 (test without 2 events). “Test without 2 events” is the Task 8 sensitivity view: it leaves out the hours of the real NE|HVAC run on 3 Oct and the 18 NW|Emerg. Lighting hours with impossible energy readings; the official results keep them. The B1–B3 and GBM numbers reproduce the Task 8 tables exactly. Validation +1h is a tie at three decimals (unrounded: Chronos 0.2457, GBM 0.2462).

## Circuits where Chronos has the lower MAE (out of 8)

| Week | Horizon | vs B1 | vs B2 | vs B3 | vs GBM |
| --- | --- | --- | --- | --- | --- |
| validation | +1h | 8/8 | 8/8 | 7/8 | 5/8 |
| validation | +6h | 8/8 | 7/8 | 7/8 | 7/8 |
| validation | day-ahead | 8/8 | 8/8 | 7/8 | 8/8 |
| test | +1h | 8/8 | 8/8 | 6/8 | 6/8 |
| test | +6h | 8/8 | 6/8 | 8/8 | 6/8 |
| test | day-ahead | 8/8 | 7/8 | 6/8 | 8/8 |
| test without 2 events | +1h | 7/8 | 7/8 | 6/8 | 4/8 |
| test without 2 events | +6h | 8/8 | 7/8 | 8/8 | 7/8 |
| test without 2 events | day-ahead | 8/8 | 7/8 | 7/8 | 8/8 |

## Test MAE per circuit (Wh per hour, all hours; best in bold)

| Circuit | +1h B2 | +1h B3 | +1h GBM | +1h Chronos | DA B2 | DA B3 | DA GBM | DA Chronos |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NE¦HVAC | 10.39 | 8.80 | 10.29 | 7.32 | 10.39 | 10.28 | 10.36 | 10.34 |
| NE¦Plugs & Sockets | 3.93 | 4.69 | 2.84 | 2.95 | 3.93 | 4.31 | 4.66 | 3.05 |
| NW¦Emerg. Lighting | 29.72 | 26.46 | 28.59 | 24.74 | 29.72 | 27.60 | 29.59 | 28.14 |
| NW¦HVAC | 43.86 | 15.81 | 14.19 | 13.60 | 43.86 | 37.88 | 44.44 | 29.69 |
| NW¦Hand Dryer | 0.77 | 0.56 | 0.52 | 0.57 | 0.77 | 0.82 | 0.73 | 0.67 |
| NW¦Lighting | 49.02 | 30.12 | 34.67 | 32.74 | 49.02 | 52.53 | 54.74 | 51.06 |
| NW¦Plugs & Sockets | 265.15 | 183.61 | 209.69 | 163.16 | 265.15 | 322.12 | 258.65 | 246.09 |
| NW¦RACK | 3.30 | 4.41 | 3.85 | 2.37 | 3.30 | 3.51 | 2.68 | 2.35 |

DA = day-ahead. B1 and the +6h horizon per circuit: results/chronos_comparison.xlsx, sheet test_MAE_by_circuit.

## Day-ahead error by hours ahead (scaled MAE, test without 2 events)

| Hours ahead | B1 | B2 | B3 | GBM | Chronos |
| --- | --- | --- | --- | --- | --- |
| 1–3 | 0.453 | 0.336 | 0.322 | 0.315 | 0.326 |
| 4–6 | 0.465 | 0.353 | 0.405 | 0.343 | 0.298 |
| 7–12 | 0.551 | 0.474 | 0.438 | 0.463 | 0.409 |
| 13–18 | 0.505 | 0.431 | 0.442 | 0.420 | 0.394 |
| 19–24 | 0.446 | 0.308 | 0.360 | 0.368 | 0.284 |

## Forecast range (Chronos 0.1 to 0.9 quantile)

| Week | Horizon | Hours | Inside range | Below 0.1 | Above 0.9 |
| --- | --- | --- | --- | --- | --- |
| validation | +1h | 1,336 | 78.4 % | 11.8 % | 9.7 % |
| validation | +6h | 1,336 | 79.3 % | 10.6 % | 10.1 % |
| validation | day-ahead | 1,336 | 79.3 % | 11.2 % | 9.6 % |
| test | +1h | 1,344 | 82.4 % | 8.2 % | 9.4 % |
| test | +6h | 1,344 | 80.1 % | 8.9 % | 10.9 % |
| test | day-ahead | 1,344 | 80.1 % | 8.6 % | 11.3 % |

Target: 80 % inside. The range is well calibrated on normal hours in both weeks.

## Interpretation

- vs the baselines: Chronos is the first model to beat the weekday-hour median (B2) clearly at +6h and day-ahead: 0.359 vs 0.390 and 0.350 vs 0.389 without the events, on 7 of 8 circuits. Model 1 was only level with B2 there. It is also below persistence (B3) at every horizon.

- vs Model 1 at +6h and day-ahead: better in both weeks and on 7–8 of 8 circuits. The largest day-ahead gain is 4–24 hours ahead; only in the first 3 hours after midnight is GBM slightly better.

- vs Model 1 at +1h: tied on validation. Without the events GBM is better (0.265 vs 0.319): the last value explains most of the next hour (76 % of GBM's input importance), and GBM learned that relation for these circuits.

- Why it helps — level shifts: NW|HVAC was on standby in validation, a state GBM had not seen in training. Chronos followed the new level (day-ahead MAE 12.9 Wh vs 65.6 GBM and 77.5 B2).

- Why it helps — recovery after events: after the NE|HVAC run on 3 Oct, Chronos returned to the normal level quickly (+1h MAE 7.3 Wh vs 8.8 persistence and 10.3 GBM). This makes it the best model on the official test results.

- Why it helps — weekly shape: with 3 weeks of context it sees each weekday 3 times and reproduces the daily and weekly profile.

# 4 · Open questions and next steps

Points marked yellow need a team or product-owner decision.

| Open point | Where it stands |
| --- | --- |
| Pretrained model allowed? | Chronos is trained by others and used without fitting. Confirm it is accepted as an additional ML model, and how it must be cited. |
| Model weights in the repository | 190 MB, link to these weights is given in the “Commit description” |
| Model size | Only Small tested. In theory other sizes are available though they would likely lead to overfitting |
| One test week | +6h gain is concentrated: Chronos beats B2 on only 3 of 8 days at +6h. Day-ahead is steadier (7 of 8 days vs B2 and vs GBM). |
| +1h context length | All four lengths score 0.255–0.256 on validation; the chosen 168 h is effectively arbitrary. |
| Anomaly flag | All 3 hours of the NE¦HVAC run lie above the 0.9 value (about 3.4 Wh vs ~690 Wh actual), but so do ~10 % of normal hours. A stricter threshold must be chosen on validation. |
| Univariate model | No calendar, holiday or cross-circuit input; no holidays in the data, so holiday behaviour is untested. |
| Reproducibility | Identical results confirmed in one environment (torch 2.14.1, CPU); another torch build may change the last decimals. |

## Review fixes (26 Oct, no forecast or score changed)

- “Best” label decided on unrounded values (column best_margin); before, the validation +1h tie was labelled GBM

- Forecast-range width scaled per horizon instead of with the +1h scale (effect below 1 %)

- Docstring corrected (weights checksum is checked in run_chronos_test.py, not on load); transformers and tabulate versions pinned

# 5 · The ZIP package

14 files, 0.2 MB. Unzip into the Task 7&8 folder (Task78_rev0_19-10): the scripts use its dataset, modules and Task 8 predictions. requirements.txt and .gitignore replace the Task 7&8 versions (both are supersets). “Minimum” marks what the deliverable needs; “recommended” is the evidence for no leakage; “optional” can be regenerated by the scripts. The model weights are not included.

Chronos_rev0_26-10.zip

|-- requirements.txt, .gitignore             setup (supersets of Task 7&8)

|-- chronos_model.py                         model wrapper

|-- run_chronos_tune.py, run_chronos_test.py, run_chronos_compare.py

|-- tests/     test_chronos.py (3 tests)

|-- README_Chronos.md

|-- models/    chronos_frozen_config.json

|-- results/   predictions, tuning log, comparison tables

(weights/chronos-bolt-small/ not included: config.json + model.safetensors, 190 MB)

| File | Part | What it is | Size | Minimum |
| --- | --- | --- | --- | --- |
| requirements.txt | Setup | Task 7&8 library versions + torch, chronos-forecasting, transformers, tabulate | 0.3 KB | yes |
| .gitignore | Setup | Task 7&8 entries + weights/ | 0.2 KB | yes |
| chronos_model.py | Model | Context builder, model calls, forecast rows incl. 0.1 / 0.9 values | 5.8 KB | yes |
| run_chronos_tune.py | Model | Validation selection of the context length; writes the freeze, refuses to overwrite it | 4.2 KB | yes |
| run_chronos_test.py | Model | Checksum checks, one run on the test week | 1.6 KB | yes |
| run_chronos_compare.py | Model | Comparison with B1–B3 and GBM on the common mask; writes the Excel and tables | 8.5 KB | yes |
| tests/test_chronos.py | Model | Leakage, missing hours and lead mapping, on toy data | 2.2 KB | recommended |
| README_Chronos.md | Model | Setup, protocol, results, review, issues | 9.1 KB | yes |
| models/chronos_frozen_config.json | Model | Chosen settings, weights and dataset checksums, versions | 2.7 KB | yes |
| results/chronos_validation_predictions.parquet | Model | Validation forecasts of the chosen settings | 79.6 KB | yes |
| results/chronos_test_predictions.parquet | Model | Test-week forecasts, run once | 78.9 KB | yes |
| results/chronos_tuning_log.csv | Model | Validation score of all 4 context lengths per horizon and circuit | 2.6 KB | yes |
| results/chronos_comparison.xlsx | Model | Summary, wins, per circuit, by hours ahead, ranges, tuning | 27.7 KB | optional |
| results/chronos_tables.md | Model | The tables quoted in README_Chronos.md | 7.5 KB | optional |

## Run and verify

pip install -r requirements.txt

# weights: config.json + model.safetensors into weights/chronos-bolt-small/

python -m pytest -q tests/                 # 29 passed (26 Task 7&8 + 3 Chronos)

python run_chronos_tune.py                 # refuses once frozen

python run_chronos_test.py                 # checks dataset + weights checksums

python run_chronos_compare.py

Step-by-step details, results and review notes: README_Chronos.md.